# CHAPTER 3: METHODOLOGY (POLISHED VERSION)

## 3.1 Research Design

This project adopts an experimental and design-based research methodology, where a functional IoT-based prototype is designed, implemented, and evaluated under both controlled and real-world conditions. This approach is appropriate since the study focuses on developing and validating a practical engineering system rather than purely theoretical analysis.

The proposed system continuously senses air pollutants and environmental parameters, processes data locally at the edge device, transmits the data to a cloud platform, and presents actionable insights to end users through a web-based interface. Experimental testing is conducted to evaluate sensor response, alert latency, system reliability, and overall performance. The design emphasizes low-cost implementation, scalability, real-time communication, and accessibility, ensuring suitability for household, urban, agricultural, and healthcare environments.

## 3.2 System Development Approach

The system development follows a four-phase incremental approach, where each subsystem is designed, tested, and validated independently before full system integration. This approach minimizes system-level errors, enhances reliability, and allows progressive verification of functionality.

### Phase 1: Sensor Integration

This phase involves the selection, interfacing, and calibration of sensing components responsible for detecting air pollutants and environmental conditions. MQ-series gas sensors (MQ-2, MQ-5, MQ-7, MQ-8, MQ-9, and MQ-135) are used to detect combustible gases, carbon monoxide, methane, and general air contaminants. A Nova PM sensor is employed to measure particulate matter concentrations (PM₂.₅ and PM₁₀), while a DHT11 sensor measures ambient temperature and humidity.

The sensors are electrically interfaced with the ESP32 microcontroller using appropriate analog and digital input pins. Voltage divider and signal-conditioning circuits are applied where necessary to ensure compatibility with the ESP32’s analog-to-digital converter (ADC). Initial calibration is performed by exposing sensors to known or simulated pollutant conditions to establish baseline readings and threshold values. This calibration process improves measurement consistency and reliability prior to deployment.

Fig. 3.1: IoT-Based Air Quality Monitoring System hardware architecture.

### Phase 2: Edge Processing and Data Acquisition

In this phase, the ESP32 microcontroller is programmed to operate as an intelligent edge device. The firmware continuously samples sensor data at predefined intervals. Raw analog readings are converted into digital values using the ESP32’s internal ADC and preprocessed to reduce noise and short-term fluctuations.

Edge-level processing includes normalization of sensor values, application of calibration correction factors, threshold comparison, and timestamping of readings. Threshold-based logic enables local detection of hazardous conditions, allowing immediate activation of alerts and actuators without reliance on cloud processing. Processed data are transmitted to the cloud via Wi-Fi, ensuring low-latency and energy-efficient communication.

### Phase 3: Cloud Storage and Backend Integration

Firebase is selected as the cloud backend due to its real-time database capabilities, scalability, and ease of integration with IoT systems. A secure communication channel is established between the ESP32 and Firebase using authentication credentials.

Sensor data are structured into organized database fields representing gas concentrations, particulate matter levels, temperature, humidity, timestamps, and alert states. Cloud-based triggers are configured to activate notifications when pollutant levels exceed predefined safety thresholds. This architecture enables remote access to both real-time and historical data, supporting monitoring, visualization, and long-term analysis.

### Phase 4: Web Application and User Interface

A web-based application is developed to provide users with intuitive access to air quality information. The interface displays real-time sensor readings, historical trends, and alert notifications using charts and visual indicators. The application is designed to be responsive and accessible on smartphones, tablets, and personal computers.

User experience considerations such as clarity, readability, and responsiveness are prioritized to ensure effective communication of environmental data, particularly for non-technical users.

Fig. 3.2: IoT-Based Air Quality Monitoring System data flow architecture.

## 3.3 Machine Learning and Data Analysis Methods

To enhance system intelligence, baseline machine learning and data analysis techniques are employed as a proof-of-concept for predictive monitoring and anomaly detection.

### Data Preprocessing

Data preprocessing includes:

- Removal of anomalous and inconsistent readings

- Application of calibration correction factors

- Normalization of sensor values

- Handling of missing or incomplete data

### Exploratory Data Analysis

Exploratory data analysis is performed to:

- Identify temporal and spatial pollution patterns

- Visualize pollutant trends and spikes

- Analyze hourly and daily variations in air quality

### Predictive Modeling

Baseline predictive models are implemented, including:

- Regression models (Linear Regression, Random Forest)

- Time-series models (Long Short-Term Memory – LSTM)

These models are used to forecast short-term pollutant levels and assess potential hazardous conditions.

Fig. 3.3: Machine learning subsystem architecture.

### Classification and Anomaly Detection

Classification and anomaly detection techniques such as Support Vector Machines (SVM) and Isolation Forests are used to:

- Detect abnormal pollution patterns

- Identify gas leakage events

- Trigger alerts and safety responses

### Evaluation Metrics

System performance is evaluated using:

- Root Mean Square Error (RMSE) and Mean Absolute Error (MAE) for forecasting accuracy

- Confusion matrices and accuracy scores for classification performance

## 3.4 System Requirements

### Hardware Requirements

- ESP32 microcontroller

- MQ-series gas sensors (MQ-2, MQ-5, MQ-7, MQ-8, MQ-9, MQ-135)

- Nova PM sensor (PM₂.₅ and PM₁₀)

- DHT11 temperature and humidity sensor

- LEDs and buzzer for alerts

- Breadboard and stripboard

- 12 V battery and power management modules

- Wi-Fi access point

- Jumper wires and enclosure

### Software Requirements

- Firebase backend

- Web application framework

- Programming language (Arduino C++ / MicroPython)

- Machine learning libraries

- Data visualization tools

## 3.5 Prototype Testing

System testing is conducted under controlled conditions and real-world deployment scenarios. Controlled testing involves simulated pollutant sources to evaluate sensor response, calibration accuracy, and alert functionality. Real-world testing is performed in domestic and urban environments to assess robustness under varying environmental conditions.

Performance metrics include sensor accuracy, alert latency, cloud data update reliability, and user interface usability. These evaluations ensure that the system meets functional, reliability, and usability requirements.

## 3.6 Ethical and Safety Considerations

- Safe handling of gas sources during testing

- Avoidance of human exposure to hazardous conditions

- Protection of user data and privacy in cloud storage

# CHAPTER 4: EXPECTED OUTCOMES (POLISHED VERSION)

## 4.1 Real-Time Monitoring of Air Pollutants

The system is expected to provide continuous real-time monitoring of key pollutants, including particulate matter (PM₂.₅ and PM₁₀), carbon monoxide, methane, and other hazardous gases. This capability enables users to understand air quality conditions within their immediate environment.

## 4.2 Detection of Hazardous Gas Leaks and Fire Risks

Through the integration of MQ-series gas sensors, the system is expected to detect combustible and toxic gases associated with fire outbreaks, poisoning, and explosions. Threshold-based detection allows early identification of hazardous conditions, enabling timely preventive action.

## 4.3 Automated Alerts and User Notifications

The system is expected to generate instant alerts via cloud-based notifications and visual indicators on the web interface when air quality exceeds safe limits. These alerts enhance responsiveness and reduce exposure to harmful conditions.

## 4.4 Data Visualization and Accessibility

A user-friendly web application is expected to display real-time readings, historical trends, and analytical insights. Accessibility across internet-enabled devices ensures widespread usability and democratization of environmental data.

## 4.5 Predictive Analytics and Anomaly Detection

Integrated machine learning models are expected to:

- Forecast short-term pollutant levels

- Detect abnormal pollution patterns

- Identify gas leakage anomalies

This shifts the system from reactive monitoring to proactive environmental risk assessment.

## 4.6 Enhanced Awareness and Safety Practices

The project is expected to improve environmental awareness, promote safety-conscious behavior, and support informed decision-making in households, schools, healthcare facilities, and small industries.

## 4.7 Affordability and Scalability

By utilizing low-cost sensors and open-source platforms, the system is expected to demonstrate an affordable and scalable approach to air quality monitoring suitable for household and community deployment.

## 4.8 Validation of IoT-Based Environmental Monitoring

The successful implementation of this project is expected to validate the feasibility of IoT-based, decentralized air quality monitoring as a practical alternative to centralized systems, particularly in resource-constrained environments.